## Sheet1
Type of Item | Material Code | Item Desc | UM | Qty | Value | Item Category | Material Type Desc. | Receipt Date | End User Eqpmt | Plant Code | Manufacturer | Material Type | Options
Obsolete | M3246736008 | BOWL BEARING,3540101,KBL,PUMP,BHQ27M1 | NO | 3 | 81500.25 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897030 | DISTANCE SLEEVE,BHR42:18 DEG | NO | 2 | 1184.6 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897036 | IMPELLER NUT,BHR42:18 DEG | NO | 1 | 6754.64 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897037 | SLEEVE NUT,BHR42:18 DEG | NO | 3 | 1397.34 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897039 | LOCK NUT,BHR42:18 DEG | NO | 3 | 5050.08 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897040 | SCREWED COUPLING,BHR42:18 DEG | NO | 2 | 29453.64 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897053 | COUPLING PIN,BHR42:18 DEG | NO | 40 | 20370 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897057 | RATCHET COVER,BHR42:18 DEG | NO | 1 | 14755.71 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897059 | O-RING,522.1,BHR42:18 DEG | NO | 2 | 2123.94 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3246897060 | O-RING,BHR42:18 DEG | NO | 14 | 22431.64 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M3248436021 | OIL SEAL,500.1,KPD 40/20 | NO | 1 | 161.51 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5214150136 | DELETEDUNIVER MOT 220V CC BURN ACTU P NO | NO | 4 | 356503.4 | TURBINE COMBUSTION S | Component & Spares | 2009-03-10 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5220050093 | DELETEDPROXIMITOR NO A2A50146397-H13F30D | NO | 2 | 31614.24 | TURBINE C&I | Component & Spares | 2009-06-11 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5220056505 | DELETEDPROXIMITOR A2A50146397,TIN :H13F | NO | 1 | 0.01 | TURBINE C&I | Component & Spares | 2004-04-20 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5222046014 | SEE/SFC720/1200:A/D/A CONVERTER ADA132 | NO | 2 | 585184.1 | GENERATOR EXCITATION | Component & Spares | 2013-12-21 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5222046056 | DE-EXCI CIRCUIT BRKR,5310-029.213 962 | NO | 1 | 0.01 | GENERATOR EXCITATION | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5222046117 | DC TRANSFORMER,7414-029.136 262,SIEMENS | NO | 5 | 120555.3 | GENERATOR EXCITATION | Component & Spares | 2013-12-21 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5260300244 | DELETED0104 6 PUSH BUTTON EGT4 ,C2S01-23 | ST | 2 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2008-09-29 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600175 | 6ES5 314-3UR11 SIMATIC S5 C2S01-06-006 | ST | 2 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2013-09-28 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600209 | DELETEDSIMATIC S5, CMOS-EPROM 64 KB | NO | 1 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600236 | 6ES5 451-8MA11 SIMATIC S5 451 | ST | 1 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2013-09-28 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600263 | 6ES5 700-8FA11 SIMATIC S5, C2S01-06-027 | ST | 1 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2013-09-28 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600388 | 6ES5304-3UB11 SIMATIC S5, C2S01-06-004 | ST | 2 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2011-05-12 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600403 | 6ES5 316-8FA12 SIMATIC S5,C2S01-06-007 | ST | 2 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2013-09-28 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5260600564 | 6ES5 777-0BC01 SIMATICS5,L1,C2S01-06-033 | ST | 2 | 0 | INDICATOR SYSTEM | Capital Spare-N.valuated | 2013-09-28 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M5710226028 | HUB ASSEMBLY FOR CT FAN | SET | 2 | 213081.26 | COOLING TOWER | Component & Spares | 2011-12-16 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5740056009 | SPRING,S-106,CAPITAL CONTROLS | NO | 5 | 94492.1 | C.W.SYSTEM | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M5760700061 | DeletedI/O BUFFER(B 1010)FOR ELECTRONIC | NO | 1 | 0 | DEMINERALISING SYSTE | Capital Spare-N.valuated | 2009-09-03 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M6805100033 | FAULT ISOLATOR MODULE | NO | 2 | 8384.76 | FIRE DETECTORS | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6825030013 | PANEL HEATER OF FIRE FIGHTING EQPT. | NO | 2 | 0.02 | STATIC EQPT. | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6825030138 | SUPPLEMENTARY RELAY SR35 FIRE FIGHT EQPT | NO | 1 | 0.01 | STATIC EQPT. | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6825030156 | INPUT MODULE MID16 OF FIRE FIGHTING EQPT | NO | 1 | 0.01 | STATIC EQPT. | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6825100058 | LED'S FOR FIRE ALARM SYSTEM. | NO | 10 | 9235 | STATIC EQPT. | Others | 2014-09-08 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6890050064 | TERMINAL BLOCK MODULE FOR FIRE PANEL | NO | 1 | 11851.17 | FIR FIGHTING SPARES | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6890050082 | VOICE LED MODULE FOR FIRE PANEL | NO | 1 | 11851.17 | FIR FIGHTING SPARES | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M6890050091 | POWER SUPPLY MODULE PS-5A | NO | 1 | 11851.17 | FIR FIGHTING SPARES | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M8162414383 | DELETEDEARTH WIRE MAT IS:2062 G.I.FLAT 4 | M | 837 | 223395.3 | EARTH WIRE | Others |  |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M8166115563 | JKIT,ST,H/S,1.1KV,3C,10MM2,AL | NO | 1 | 900 | CABLE JOINTING KIT | Others | 2003-12-11 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M8186103025 | CABLE LUG,RING TERMINAL,CU,1.5MM2 | NO | 8 | 5.44 | CABLE CONNECTOR | Others | 2003-05-27 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Obsolete | M8272060755 | BALL BRACKET FITTING,75X75MM | NO | 10 | 57.7 | MISC. FITTINGS | Stores Other Then Spares |  |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Obsolete | M8395110201 | MISC ELECT DEVICE & COMP CONTROL CARD | NO | 4 | 0 | MISC ELECTR DEV & CO | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8395113219 | MISC ELECT DEVICE & COMP SNUBBER CARD | NO | 1 | 0 | MISC ELECTR DEV & CO | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8510219327 | CONTACTOR,POWER,LT,110VAC,38A,3P,SIEMENS | NO | 5 | 1046.85 | POWER CONTACTOR | Component & Spares | 2001-10-11 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8546022186 | FUSE LINK,HRC,415V,2A,C&S | NO | 16 | 2954.08 | HRC FUSE LINK | Component & Spares | 2001-04-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8546342042 | FUSE LINK,HRC,100A,3NW TSS 100,SIEMENS | NO | 33 | 2731.08 | HRC FUSE LINK | Component & Spares | 2002-12-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8568280474 | LAMINATION BLOCK,3WY5800 1YA02,SIEMENS | NO | 18 | 3457.8 | SPARES/ACCESS LT SG | Component & Spares | 2001-10-22 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M8568280483 | LAMINATION BLOCK,3WY5800 1YA01,SIEMENS | NO | 31 | 5954.79 | SPARES/ACCESS LT SG | Component & Spares | 2001-10-11 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9290040002 | VENT PLUG,VARTA,BATTERY,VB-4118 | SET | 9 | 14670.09 | UPS&BATTE SPRS&ACCES | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9416066208 | TRAN DISPLY&ANGLE 7MJ1121-8AA CE69110140 | NO | 2 | 0 | TRANSMITTER | Capital Spare-N.valuated | 2016-04-16 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9419226032 | COLLECTOR LP B1,FERROCARE | SET | 24 | 57528 | BYPASS SYSTEM | Component & Spares | 2011-07-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9420056009 | PROXIMITOR FOR TURB AXIAL SHIFT 3300 XL | NO | 2 | 39429.46 | TSI | Component & Spares | 2011-01-20 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9420406006 | IPC MODULE FOR ABSOLUTE VIB.SENSOR-CA202 | NO | 2 | 0 | TSI | Capital Spare-N.valuated | 2015-12-29 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9420406007 | GALVANIC SEPARATION UNIT-GSI130, MEGGITT | NO | 4 | 0 | TSI | Capital Spare-N.valuated | 2015-12-29 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9420421001 | RELATIVE SHAFT VIB.SENSR: TQ402 (10MTR) | NO | 2 | 0 | TSI | Capital Spare-N.valuated | 2013-05-06 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9420421002 | RELATIVE SHAFT VIB,SENSR: TQ402 (5MTR) | NO | 1 | 0 | TSI | Capital Spare-N.valuated | 2013-05-06 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9420421003 | IQS MODULE FOR SENSOR-TQ402(10M);MEGGITT | NO | 3 | 0 | TSI | Capital Spare-N.valuated | 2014-10-31 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9428076002 | ADAPTER UNIT,7MJ1321-8AB,SIEMENS | NO | 1 | 329558 | CONTROL & INSTRUMENT | Component & Spares | 2014-06-24 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9428106033 | CABLE,ACCELEROMETER TO ANALYSER | NO | 3 | 0 | CONTROL & INSTRUMENT | Component & Spares | 2012-06-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438326006 | PARABOLIC ANTENNA,KENSTEL/SHEETAL | NO | 4 | 30990.32 | CONTROLLER | Component & Spares | 2009-03-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438326007 | FAST HEATER,103860-03,ANALYZER | NO | 5 | 24993.7 | CONTROLLER | Component & Spares | 2009-03-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438326204 | TEMP CONT CIRCUIT BRD,100856-00,ANALYZER | NO | 1 | 16858.25 | CONTROLLER | Component & Spares | 2012-09-04 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438326213 | NO2-NO CONVERTER,CONV-FUZI-A-01,EMERSON | NO | 1 | 169116 | CONTROLLER | Component & Spares | 2015-11-10 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450012 | BAG,801928,PUMP MEMBRANE,ANALYZER,3N | NO | 4 | 42372.56 | CONTROLLER | Component & Spares | 2012-09-04 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450017 | CONDENSATE MONITOR,FF-HM-230 + FF1 | NO | 3 | 188393.97 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450019N | BASIC MODULE,768417,ANALYZER | NO | 1 | 117744 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450050 | RESIS TEMP INDICATOR,9716009,ABB | NO | 2 | 2269.22 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450056 | FLOW METER,9916008,ABB,ANALYZER | SET | 5 | 103063.95 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438450060 | THERMAL TRIP,758265,ABB,ANALYZER | NO | 1 | 2694.19 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438451093 | OPTICAL FILTER,0856303,ABB,ANALYZER | NO | 1 | 149327 | CONTROLLER | Component & Spares | 2015-10-15 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438451109N | DIGI IP/OP BRD,990056,ABB,ANALYZER | NO | 1 | 87115.85 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456064N | ANALYZER,GAS,SOX&NOX,110/230VAC,24VDC | NO | 1 | 105737.46 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456085 | SILICONE TUBE,1000019,AICPL | M | 2 | 154.72 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456086 | GLASS WOOL GASKET,801629,ANALYZER | SET | 12 | 26533.32 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456090N | PRESS SENSOR BOARD,0745722 | NO | 2 | 61159.42 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456121 | SAMPLE PROBE,990.942E,1.8M,ANALYZER | NO | 2 | 55455.9 | CONTROLLER | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9438456207 | VITON TUBE 6/4 MM SOX/NOX ANALYZER ABB | M | 10 | 11864.7 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9446301605 | ELECT POSIT TRANSMITER C74451-A1390-A103 | NO | 1 | 0 | CONTROL & INSTRUMENT | Capital Spare-N.valuated | 2015-11-30 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9446606026 | DIGITAL INPUT MODULE, 8*24VDC. | NO | 4 | 0 | CONTROL & INSTRUMENT | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9456310008 | PROBE FOR LEVEL INDICATOR(CAPACITANCE) | NO | 1 | 1776.16 | LEVEL SWITCH | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9464042155 | Deleted SENSOR FOR REL >EXPANSION | NO | 1 | 0 | RELAY | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9475306003 | SODIUM DIGITAL FLOW METER OF ST-2 | NO | 1 | 103517.43 | WATER QULTY SAMP TAB | Component & Spares | 2010-08-14 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9476060596 | ANALYTICAL INSTRUMENTS 9180=A=1501 | NO | 2 | 0 | ANALYT INST FOR WATE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9476158613 | POWER SUPPLY PCB FOR HYDRAZINE | NO | 1 | 0 | ANALYT INST FOR WATE | Capital Spare-N.valuated | 2007-08-13 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9476187547 | POWER SUPPLY BOARD FOR DO2 | NO | 1 | 0 | ANALYT INST FOR WATE | Capital Spare-N.valuated | 2007-08-13 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9485076008 | PROGRAM CONTROL CARD,P15-6458,DONALDSON | NO | 3 | 92242.02 | CONTROL & INSTRUMENT | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9485126018 | IPC MODULE FOR HUM DETECTOR-CP104;MEGGIT | NO | 1 | 0 | CONTROL & INSTRUMENT | Capital Spare-N.valuated | 2014-10-31 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9485166041 | EA12 MODULE FOR GOVERNOR, MAKE:SIEMENS | NO | 2 | 0 | CONTROL & INSTRUMENT | Capital Spare-N.valuated | 2018-04-19 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9485196001 | PLUG-IN CONNECTOR,8012940000,WEIDMULLER | NO | 3 | 19032.03 | CONTROL & INSTRUMENT | Component & Spares | 2008-09-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9485196002 | PLUG-IN CONNECTOR,8012910000,WEIDMULLER | NO | 4 | 15733.16 | CONTROL & INSTRUMENT | Component & Spares | 2008-09-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036027 | LOOP ISOLATOR ELECTR.MODULE,MAKE: KIDDIE | NO | 1 | 5548.8 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036028 | RELAY MODULE WITH RELAYS, MAKE: KIDDIE | NO | 1 | 14310.6 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036029 | ADDRESSABLE MUANUAL PULL STATION, KIDDIE | NO | 3 | 12852 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036031 | SIGNAL AUDIBLE MODULE,MAKE: KIDDIE | NO | 1 | 12331.8 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036033 | TRANS/RECEIVER MDL,74-200005-002,KIDDIE | NO | 1 | 30804 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036036 | ADDRESSABLE INTERFACE UNIT,70-407008-001 | NO | 1 | 6038.4 | TSI | Component & Spares | 2009-12-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9488036058 | N/W INTERFACE CARD | NO | 1 | 36133.15 | TSI | Component & Spares | 2011-01-22 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9490502575 | 6 POINT RECORDER FOR EACH TYPE AND MODEL | NO | 1 | 0 | BUNKER LEVEL MEASU | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9490503082 | SENSOR FOR ABS.VIBRATION | NO | 2 | 0 | BUNKER LEVEL MEASU | Capital Spare-N.valuated | 2015-11-30 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9494100032 | CONNECTOR,PREFAB CABLE,5M,1614812601 | L | 6 | 9841.5 | MISCELLANEOUS ITEMS | Component & Spares | 2015-04-18 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9494490168 | THERMOCOUPLE COMPONENTSMETAL POWER | NO | 1 | 0.01 | MISCELLANEOUS ITEMS | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9494556059 | GREY SPOT SENSOR OF SHAW DEW POINT TRANS | NO | 3 | 293587.8 | MISCELLANEOUS ITEMS | Component & Spares | 2014-08-02 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9494875385 | SIGNAL TERMINATION BOARDS SIEMENS | NO | 5 | 0 | MISCELLANEOUS ITEMS | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9502746032 | ANALOG INPUT MODULE:6ES7331-1KF01 OABO | NO | 2 | 0 | LOW RESOLN DIGI INPU | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9502746036 | ANALOG I/P MODULE: 6ES5-464-8MF21;SIEMNS | NO | 1 | 0 | LOW RESOLN DIGI INPU | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9504746011 | ANALOG O/P MODULE: 6ES5-470-8MC12;SIEMNS | NO | 2 | 0 | DIGITAL OUTPUT CARD | Capital Spare-N.valuated | 2018-04-19 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9510746006 | SIMATIC S5 BUS UNIT,S5-6ES700-8MA11 | NO | 11 | 4218.5 | ANALOGUE OUTPUT CARD | Component & Spares | 2011-03-31 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9510746009 | IE OMC TP11 SIEMENS FOR GTMMI | NO | 1 | 0 | ANALOGUE OUTPUT CARD | Capital Spare-N.valuated | 2011-08-23 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9514746049 | BUS CONNECTOR-COMM.CARD: 6GK1-543-1AA01 | NO | 2 | 0 | SERIAL COMMUNICN CAR | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9514746055 | CONNECTOR,6ES5 490-8FB11,SIEMENS | NO | 1 | 9927.89 | SERIAL COMMUNICN CAR | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746011 | FIBRE OPTIC CABLE,6XV1820-7BH30,SIEMENS | NO | 2 | 17348.14 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746012 | FIBRE OPTIC CABLE,6XV1820-7BH50,SIEMENS | NO | 2 | 18693.72 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746013 | FIBRE OPTIC CABLE,6XV1820-7BN25,SIEMENS | NO | 2 | 33621.8 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746014 | FIBRE OPTIC CABLE,6XV1820-7BN50,SIEMENS | NO | 3 | 33689.07 | DAS I/O CONTROLLER | Component & Spares | 2009-09-24 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746015 | FIBRE OPTIC CABLE,6XV1820-7BH10,SIEMENS | NO | 2 | 15331.74 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746016 | ITP STANDARD CABLE,6XV1850-0BN50,SIEMENS | NO | 2 | 38062.22 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746017 | ITP STANDARD CABLE,6XV1850-0BN20,SIEMENS | NO | 2 | 25554.22 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746018 | ITP STANDARD CABLE,6XV1850-0BN15,SIEMENS | NO | 2 | 23533.88 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746019 | ITP STANDARD CABLE,6XV1850-0BN30,SIEMENS | NO | 2 | 29725.54 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746020 | ITP STANDARD CABLE,6XV1850-0BN12,SIEMENS | NO | 4 | 44649.64 | DAS I/O CONTROLLER | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9515746051 | CABLE CONNECTOR,10M | NO | 7 | 16184.7 | DAS I/O CONTROLLER | Component & Spares | 2015-04-18 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9516740587 | SIEMENS INT MOD -324R 6ES5-324-3UR11 | NO | 2 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated | 2018-04-19 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9516746065 | CS12 FO COMM.BOARD: 6DD1-660-0BA0;SIEMNS | NO | 2 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9516746066 | CS22 FO COMM.BOARD: 6DD1-660-0BD0;SIEMNS | NO | 1 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9516746067 | INTERFACE MODULE,6ES7-361-3CA01-0AA0 | NO | 2 | 16462.9 | SCANNG & DIGITISN CA | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9516746073 | COMMN.MODULE: CP530, MAKE: SIEMENS | NO | 2 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9516746074 | COMMN.MODULE: CP1430; MAKE: SIEMENS | NO | 2 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9516746075 | COMMN.MODULE: 6DD1-661-OAB1; SIEMENS | NO | 1 | 0 | SCANNG & DIGITISN CA | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9520746019 | DIG I/O MODULE,6ES-5-421-8MA12,SIEMENS | NO | 3 | 116184.39 | DAS CACHE MEMORY | Component & Spares | 2011-03-31 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9520746031 | DIGITAL INPUT MODULE,6ES7321-1EH01-0AA0 | NO | 4 | 149046.4 | DAS CACHE MEMORY | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9520746033 | DIGITAL I/P MODULE: 6ES5-482-8MA13;SIEMN | NO | 4 | 0 | DAS CACHE MEMORY | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9520746034 | DIGITAL I/P MODULE: 6ES5-431-8FA11;SIEMN | NO | 2 | 0 | DAS CACHE MEMORY | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9523746017 | DO MODULE,6ES5-441-8MA11,SIEMENS,PLC | NO | 2 | 84168.36 | DAS TAPE DRIVE | Component & Spares | 2011-03-31 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9523746032 | DIGITAL O/P MODULE,6ES7-322-1EH01-0AA0 | NO | 1 | 0.1 | DAS TAPE DRIVE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9523746033 | DIGITAL O/P MODULE,6ES7-322-1BH01-0AA0 | NO | 2 | 33937.44 | DAS TAPE DRIVE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9531746002 | NETWORK CARD,6XV1850-2EE50,SIEMENS | NO | 3 | 15128.91 | DAS/DCS AND PLC SYST | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9536740002 | OSM for GTMMI Siemens model ITP53 | NO | 1 | 0 | DAS/DCS AND PLC SYST | Capital Spare-N.valuated | 2009-08-25 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9536740003 | OSM for GTMMI Siemens model ITP62 | NO | 1 | 0 | DAS/DCS AND PLC SYST | Capital Spare-N.valuated | 2009-08-25 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9551140001 | OVRVWD DUST FILTER,R9842800,BARCO | NO | 7 | 28744.52 | DOT MATRIX PRINTER | Component & Spares | 2011-12-24 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9556746031 | MEMORY MODULE-EPROM,6ES7-951-0KE00-0AA0 | NO | 2 | 0 | INK JECT CARTIDGE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9557746061 | TRANSCEIVER,SIEMENS,RJ45 TO D-15 | NO | 2 | 253286.4 | RIBBONS | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9557746101 | IT41 CARD: 6DD1-606-3AC0; MAKE: SIEMENS | NO | 1 | 0 | RIBBONS | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9557746102 | IT42 CARD: 6DD1-606-4AB0; MAKE: SIEMENS | NO | 1 | 0 | RIBBONS | Capital Spare-N.valuated | 2013-11-30 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9565746121 | POWER SUPPLY MODULE: 6ES5-955-7NC11;SIEM | NO | 1 | 0 | TRANSFORMER | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9567746055 | PLC PROCESSOR: 6ES5-265-8MA001; SIEMENS | NO | 2 | 0 | DC:DC-CONVERTOR | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9567746056 | CENTRAL PROCESSOR MODULE: 6ES5-948-3UR23 | NO | 4 | 0 | DC:DC-CONVERTOR | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Obsolete | M9569746034 | TP CORD,6XV1850-2GH60,SIEMENS | NO | 2 | 4578.94 | DIODE | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9569746035 | TP CORD,6XV1850-2JN10,SIEMENS | NO | 2 | 10913.08 | DIODE | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9569746036 | TP CORD,6XV1850-2GE50,SIEMENS | NO | 3 | 4297.95 | DIODE | Component & Spares | 2009-08-25 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Obsolete | M9645650007 | OFC TO ETHERNET MEDIA CONVERTOR:STANDARD | NO | 2 | 0 | END EQUIP ANALOG/DIG | Capital Spare-N.valuated | 2013-12-06 |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Surplus | M3188367038 | FIG-7000:6M:16:STRAIGHT KEY | NO | 1 | 187.52 | PUMP-I | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3188367039 | FIG-7000:6M:16:RATCHET PIN | NO | 2 | 253.34 | PUMP-I | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3188367045 | FIG-7000:6M:16:HX. HD. BOLT WITH NUT | NO | 4 | 0 | PUMP-I | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3247340001 | COUPLING KEY,321,KBL,DB 32/20 | NO | 2 | 112.96 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3247340005 | LIQUID DEFLECTOR,236,KBL,DB 32/20 | NO | 2 | 101.4 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3247340006 | LANTERN RING,KBL,DB 32/20 | NO | 2 | 112.96 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3247340015 | IMPELLER LOCK WASHER,410,KBL,DB 32/20 | NO | 2 | 151.5 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3248376016 | LOCK NUT,33600053,KPD 32/20QFH | NO | 1 | 103.67 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3248386026 | LANTERN RING,KPD 20/20QF | NO | 1 | 277.8 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3248386032 | BEARING LOCK NUT,336,KPD 20/20QF | NO | 1 | 116.29 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3248436026 | LOCK WASHER,KPD 40/20 | NO | 2 | 132.9 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3266226025 | DISTANCE PIECE,344,CPK-CM32-200 S | NO | 2 | 267.98 | PUMP-II | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3799061105 | TRUNNION,BHEL,VALVE,600MM | NO | 1 | 35654.25 | SPARES FOR VALVES | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M3799061308 | DOOR SEAL,BHEL,VALVE,1600MM | NO | 1 | 54609.11 | SPARES FOR VALVES | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M5276036741 | BOLT,31010.0002.0002+,SIEMENS | NO | 276 | 228621.84 | GAS TURBINE GENERATO | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M5276037707 | BRICK (F-ROW),A2A50244611,SIEMENS | NO | 12 | 79292.28 | GAS TURBINE GENERATO | Component & Spares | 2017-11-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M6803216008 | DETECTOR,CPD-7052,SMOKE DETECTOR | NO | 16 | 95472 | SMOKE DETECTORS | Others | 2009-12-30 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Surplus | M6803226005 | OPTICAL DETECTOR,PSD-7152,KIDDIE | NO | 9 | 51408 | SMOKE DETECTORS | Others | 2009-12-30 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Surplus | M8140221190 | CABLE,TELE,JELLY FILLED,10P,0.61MM,CU,PE | M | 944 | 84157.6 | TELEPHONE CABLE | Others | 2012-06-26 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Surplus | M8140221765 | CABLE,TELE,JELLY FILLED,100P,0.63MM,CU | M | 1320 | 791432.4 | TELEPHONE CABLE | Others | 2019-02-25 |  | 1015 |  | ZOTH | Faridabad Gas Power Project
Surplus | M8205116353 | LAMP,INCAND,GENERAL LIGHTING,SC,110-250V | NO | 84 | 787.08 | LAMP INCANDESCENT | Stores Other Then Spares | 2007-01-08 |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Surplus | M8210378111 | LAMP,FLUOR,TUBULAR,28W | NO | 100 | 7387 | LAMP FLUORESCENT | Stores Other Then Spares | 2014-06-23 |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Surplus | M8216116504 | LAMP,DISC,HPSV,TUBULAR,SC,400W,110-250V | NO | 10 | 3406.2 | LAMP SODIUM VAPOUR | Stores Other Then Spares | 2014-10-17 |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Surplus | M8250676501 | BALLAST,LTG,VPIT (RESIN),300-400W | NO | 40 | 53212 | BALLAST | Stores Other Then Spares | 2015-12-29 |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Surplus | M8251114244 | BALLAST,LTG,ELECT,2X40W,230VAC,150MA | NO | 150 | 49612.5 | BALLAST ELECTRONIC | Stores Other Then Spares | 2016-04-16 |  | 1015 |  | ZOTS | Faridabad Gas Power Project
Surplus | M9425156322 | CONTROLLER MODULE,659M31AA,ACS/LOC CONT | NO | 2 | 410435.88 | ACS | Component & Spares | 2013-05-18 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9427057538 | ELEC I/P MOD,2702-369,ROCHESTER,AN-6140 | NO | 6 | 275400 | THERMOSTAT | Component & Spares | 2009-12-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9428506049 | VELOCITY SENSOR,CN9751096510,SIEMENS | NO | 1 | 712914 | CONTROL & INSTRUMENT | Component & Spares | 2013-05-28 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9436126024 | METER TUBE,R1670,CAPITAL CONTROLS | NO | 2 | 115389.34 | BURNER MGMNT SYSTEM | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9436126040 | GAS LEAK DETECTOR,1610B,CAPITAL CONTROLS | NO | 2 | 360766.28 | BURNER MGMNT SYSTEM | Component & Spares | 2015-11-06 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326004 | SAMPLE FILTER(FOR SOX,NOX & CO2 ANALYZER | NO | 2 | 170188.76 | CONTROLLER | Component & Spares | 2016-09-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326010 | IR SOURCE,7361,THERMO FISHER,ANALYZER | NO | 3 | 35279.55 | CONTROLLER | Component & Spares | 2016-09-28 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326015 | RADIO MODEM,TELETRONICS,ANALYZER | NO | 1 | 35417.51 | CONTROLLER | Component & Spares | 2009-03-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326030 | CO2 ANALYZER FOR AAQMS | NO | 1 | 199852.18 | CONTROLLER | Component & Spares | 2009-03-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326182 | FILTER TAPE,FH111,GLASS FIBER | NO | 6 | 197900.28 | CONTROLLER | Component & Spares | 2016-07-06 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326189 | PROCESSOR BOARD,101491-07,THERMO FISHER | NO | 2 | 156708.84 | CONTROLLER | Component & Spares | 2019-06-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326201 | PROCESSOR BOARD,101491-03,THERMO FISHER | NO | 1 | 88018.9 | CONTROLLER | Component & Spares | 2019-06-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438326203 | INTERFACE BOARD,100536-00,THERMO FISHER | NO | 1 | 113684.27 | CONTROLLER | Component & Spares | 2019-06-29 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438450046 | FILTER,768096,ABB,ANALYZER | NO | 9 | 120904.2 | CONTROLLER | Component & Spares | 2013-03-09 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438451136N | DETECTOR,768459,ABB,ANALYZER,URAS-14 | NO | 1 | 261899 | CONTROLLER | Component & Spares | 2018-09-27 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9438456140 | PERISTALTIC PUMP,ASF-20251356,ROSEMOUNT | NO | 2 | 25861.86 | CONTROLLER | Component & Spares | 2012-09-04 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9446011010 | HYDRAZINE ANALYSER CPU BOARD FOR SWAS | NO | 1 | 0 | CONTROL & INSTRUMENT | Capital Spare-N.valuated |  |  | 1015 |  | ZCSP | Faridabad Gas Power Project
Surplus | M9446666029 | SPEED SIGNAL MONITOR,BRAUN,E1555 | NO | 2 | 612656.46 | CONTROL & INSTRUMENT | Component & Spares | 2014-02-08 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476151056 | HYDRAZINE : ITEM- 9186A | NO | 1 | 71411.94 | ANALYT INST FOR WATE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476151092 | HYDRAZINE : ITEM- 9186C | NO | 1 | 26424.98 | ANALYT INST FOR WATE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476176126 | REAGENT BOTTLE ASSY,ABB,ANALYZER,8236260 | NO | 1 | 25581.61 | ANALYT INST FOR WATE | Component & Spares | 2017-04-13 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476212087 | TUBE SET,8891-A-6000,PERISTALTIC PUMP | SET | 7 | 45646.44 | ANALYT INST FOR WATE | Component & Spares | 2012-09-04 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476251309 | SODIUM ANALYSER : ITEM- 9073A9801 | NO | 1 | 34416.93 | ANALYT INST FOR WATE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9476251354 | SODIUM ANALYSER : ITEM- P NO. 125010004 | NO | 1 | 30177.51 | ANALYT INST FOR WATE | Component & Spares |  |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9485096004 | SPEED SENSOR,A5S07T50-15M,BRAUN,TURBINE | NO | 8 | 612608.48 | CONTROL & INSTRUMENT | Component & Spares | 2012-09-11 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9494026822 | SACRIFICIAL ANODE,R-701,CAPITAL CONTROL | NO | 2 | 44217 | MISCELLANEOUS ITEMS | Component & Spares | 2015-09-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9514746050 | L1-BUS TERMINAL,6ES5777-0BB01,SIEMENS | NO | 1 | 520557 | SERIAL COMMUNICN CAR | Component & Spares | 2013-11-30 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9532856002 | PANNEL COOLING FAN FOR DAS | NO | 30 | 33026.1 | DAS CRT CONTROLLER | Component & Spares | 2011-05-04 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9567676014 | HOT STANDBY MOD,140CHS11000,SCHNEIDER | NO | 2 | 448114.16 | DC:DC-CONVERTOR | Component & Spares | 2012-07-07 |  | 1015 |  | ZSPR | Faridabad Gas Power Project
Surplus | M9567676016 | CONTROLLER MODULE,140CPU11303,SCHNEIDER | NO | 2 | 378261.06 | DC:DC-CONVERTOR | Component & Spares | 2012-07-07 |  | 1015 |  | ZSPR | Faridabad Gas Power Project