## Sheet1 (hidden)
LIST OF OBSOLETE ITEMS AT NTPC SIPAT YEAR:2021-22
SR Nos | Master list Sr no | Material Code | UOM | Material Description | Storage loc | Storage loc des | Stock Qty | Total Value in Rs. | manufacturer/Supplier | date of Procurement | specifications | Equipment details
1 | 1 | M9422986124 | NO | COMM INTERFACE CARD,CODE:/C3(YIL) | 9006 | obselete store | 1 | 62453.1 | TATANET Division, Nelco Ltd | 02.04.2011 | SERCOM MAKE: PELCO,MODEL: CM9700-SER | CCTV Spares
2 | 2 | M9476350053 | NO | STIRRER BAR,0217321,SERES,1000 | 9006 | obselete store | 2 | 2996.36
3 | 3 | M9476556681 | NO | PHOTO ELECTRIC CELL,8241158,ABB,ANALYZER | 9006 | obselete store | 1 | 71698.87
4 | 4 | M9476556689 | NO | FLOW SWITCH SAMPLE,8240114,ABB | 9006 | obselete store | 2 | 27130.22
5 | 5 | M9476556699 | NO | TEMP SENSOR ASSY,8240196,ABB | 9006 | obselete store | 1 | 29193.66
6 | 6 | M9476556700 | NO | REAC BLK TEMP SENSOR,AW600046,ABB | 9006 | obselete store | 1 | 26345.8
7 | 7 | M9476556976 | NO | STIRRER MOTOR,8241156,ANALYZER | 9006 | obselete store | 1 | 34734.51
8 | 8 | M9476557057 | NO | SILICA REAGENT CONTAINER FOR SWAS | 9006 | obselete store | 1 | 35381.16
9 | 14 | M9476586007 | NO | MICROPULSE PUMP,695-114-000,POLYMETRON | 9006 | obselete store | 1 | 112279.5
10 | 16 | M9494506666 | NO | PHOTOCELL,24011005,24011005,ABB | 9006 | obselete store | 1 | 103154.92
11 | 13 | M9742063409 | NO | ENVIRO CONN UTILITY,ENTERPRISE | 9006 | obselete store | 1 | 333290.83
12 | 18 | M9494657018 | NO | RV-100 PROCESS DATA I/P CARD AP-10C0 | 150 | Mandatory Spares | 2 | 200234.41
13 | 17 | M9494657019 | NO | RV-100 SAMPLING CAR DAP-10A10-1SHINKAWA | 150 | Mandatory Spares | 7 | 700820.45
14 | 9 | M9494806478 | NO | 6 LED MODULE FOR DSK/PNL,TYPE:EF42 43 01 | 150 | Mandatory Spares | 5 | 5952
15 | 10 | M9497286045 | NO | RS-485 DATA TRANSCEIVER FOR CCTV SYSTEM | 150 | Mandatory Spares | 1 | 4539.17
16 | 11 | M9497286075 | NO | DATA CONVERTER UNIT,LTC8780/50,BOSCH | 150 | Mandatory Spares | 2 | 45137.39
17 | 15 | M9497506003 | NO | DATA CONVERTER FOR CCTV (CHP) | 150 | Mandatory Spares | 2 | 219318
18 | 12 | M9497506009 | NO | SIGNAL DISTRIBUTION UNIT FOR CCTV | 150 | Mandatory Spares | 2 | 144297.99
2158958.34

## Details
LIST OF OBSOLETE ITEMS AT NTPC SIPAT YEAR:2021-22
SR Nos | Material Code | UOM | Material Description | Stock Qty | Total Value in Rs. | manufacturer/Supplier | date of Procurement | specifications | Equipment details | Vendor email
1 | M9422986124 | NO | COMM INTERFACE CARD,CODE:/C3(YIL) | 1 | 62453.1 | TATANET Division, Nelco Ltd | 02.04.2011 | SERCOM MAKE: PELCO,MODEL: CM9700-SER | CCTV Spares | kaustuv.seal@nelcoin.com
2 | M9476350053 | NO | STIRRER BAR,0217321,SERES,1000 | 2 | 2996.36 | 1031532 PROACTIVE TECHNOLOGIES | 14.02.2011 | Magnetic stirrer bar for mixer block,ABB Part No:0217321 | Spares for SWAS | ns@proactive-technologies.com
3 | M9476556681 | NO | PHOTO ELECTRIC CELL,8241158,ABB,ANALYZER | 1 | 71698.87 | 1031532 PROACTIVE TECHNOLOGIES | 02.01.2012 | Photocell housing assembly - measuring FOR SILICA ANALYZER MODEL 8241 MAKE:ABB PART NO.8241158 | Spares for SWAS | ns@proactive-technologies.com
4 | M9476556689 | NO | FLOW SWITCH SAMPLE,8240114,ABB | 2 | 27130.22 | 1031532 PROACTIVE TECHNOLOGIES | 18.09.2009 | FLOAT SWITCH ASSEMBLY "OUT OF SAMPLE" FOR SILICA ANALYSER PART NO.8240114 | Spares for SWAS | ns@proactive-technologies.com
5 | M9476556699 | NO | TEMP SENSOR ASSY,8240196,ABB | 1 | 29193.66 | 1031532 PROACTIVE TECHNOLOGIES | 11.07.2013 | TEMPERATURE SENSOR ASSLY-OPTICAL SYSTEM OF SILICA ANALYSER MAKE-ABB :Part No : 8240 196 | Spares for SWAS | ns@proactive-technologies.com
6 | M9476556700 | NO | REAC BLK TEMP SENSOR,AW600046,ABB | 1 | 26345.8 | 1031532 PROACTIVE TECHNOLOGIES | 11.07.2013 | TEMPERATURE SENSOR ASSLY-REACTION BOX OF SILICA ANALYSER MAKE:ABB Part No : 8240 142 | Spares for SWAS | ns@proactive-technologies.com
7 | M9476556976 | NO | STIRRER MOTOR,8241156,ANALYZER | 1 | 34734.51 | 1031532 PROACTIVE TECHNOLOGIES | 11.07.2013 | SILICA ANALYSER:STIRRER MOTOR(ABB PART NO.8241156)FOR SWAS,MAKE:ABB Part No : 8241156 | Spares for SWAS | ns@proactive-technologies.com
8 | M9476557057 | NO | SILICA REAGENT CONTAINER FOR SWAS | 1 | 35381.16 | 1031532 PROACTIVE TECHNOLOGIES | 18.09.2009 | CONTROL & INSTRUMENTS ANALYTICAL INSTRUMENTS ITEM TYPE : SILICA ANALYSER SILICA REAGENT CONTAINER(ORANGE)SULFURIC ACID,COMPLETE WITH FLOAT SWITCH ASSMEBLY FOR SWAS, MAKE:ABB,MODEL NO.:8241 136 | Spares for SWAS | ns@proactive-technologies.com
9 | M9476586007 | NO | MICROPULSE PUMP,695-114-000,POLYMETRON | 1 | 112279.5 | 1001877 FORBES MARSHALL PVT LTD | 16.03.2012 | MICROPULSES PUMP FOR AUTO CALIBRATION FOR SODIUM ANALYZER MAKE :POLYMETRON MODEL NO: 9073 PN: 695=114=000 | Spares for SWAS | RDESHPANDE@FORBESMARSHALL.COM jpagariya@forbesmarshall.com
10 | M9494506666 | NO | PHOTOCELL,24011005,24011005,ABB | 1 | 103154.92 | 1031532 PROACTIVE TECHNOLOGIES | 11.07.2013 | Photocell Housing Assembly – reference(SILICA ANALYZER-8241) MAKE:ABB PART NO:8241 159 | Spares for SWAS | ns@proactive-technologies.com
11 | M9742063409 | NO | ENVIRO CONN UTILITY,ENTERPRISE | 1 | 333290.83 | 1035071 EMERSON PROCESS | 03.05.2016 | Utility software for connection with remote server/pc,trending etc (King View SCADA S/W for DAS & Reporting 128 Tags) Cloud software License with data upload to CPCB(34 parameter) Annual package support uploading 34 parameters to CPCB at 1 min frequency. License valid for one year. | Environment Online Data Monitoring system | Nitin.Dhanore@Emerson.com
12 | M9494657018 | NO | RV-100 PROCESS DATA I/P CARD AP-10C0 | 2 | 200234.41 | 1030582 Bharat Heavy Electricals Ltd | 19.11.2008 | RV-100 PROCESS DATA INPUT CARD, MAKE:SHINKAWA ELECTRIC CO LTD, MODEL NO:AP-10C0 NA Part No : NA Drg No : NA | Generator excitation system Supplied under Mandatory spares of PO No: 5500001229 | CORPFIN-NTPC@BHEL.IN
13 | M9494657019 | NO | RV-100 SAMPLING CAR DAP-10A10-1SHINKAWA | 7 | 700820.45 | 1030582 Bharat Heavy Electricals Ltd | 19.11.2008 | RV-100 SAMPLING CARD (TO TRANSFER VIBRATION SIGNALS FROM VM5 TO AP SOFTWARE RV100), MAKE:SHINKAWA ELECTRIC CO LTD, MODEL NO:AP-10A10-1 NA Part No : NA Drg No : NA | Generator excitation system Supplied under Mandatory spares of PO No: 5500001229 | CORPFIN-NTPC@BHEL.IN
14 | M9494806478 | NO | 6 LED MODULE FOR DSK/PNL,TYPE:EF42 43 01 | 5 | 5952 | 1031497 POWER MACHINES(INDIA) LTD | 31.01.2009 | CONTROL & INSTRUMENTS MISCELLANEOUS ITEMS, ITEM : LED/LAMP MODULE (DESK/PANEL), 6 LED MODULE, TYPE: EF 42 43 01 | CPU regeneration system Supplied under mandatory spares of PO no:5500001596 | PMIL@power-machines.com
15 | M9497286045 | NO | RS-485 DATA TRANSCEIVER FOR CCTV SYSTEM | 1 | 4539.17 | 1030403 ABB LTD | 28.08.2008 | CONTROL & INSTRUMENTS CCTV ITEM TYPE : ELECTRONIC MODULE FIBRR UNIT,KEYBOARD/RS485 DATA TRANSCEIVER, 230VAC, PART NO.: LTC4671/50, | CCTV Spares | SK.SHARMA@IN.ABB.COM
16 | M9497286075 | NO | DATA CONVERTER UNIT,LTC8780/50,BOSCH | 2 | 45137.39 | 1030403 ABB LTD | 28.08.2008 | CONTROL & INSTRUMENTS CCTV ITEM TYPE : ELECTRONIC MODULE;DATA CONVERTER UNIT-LTC8780/50 | CCTV Spares | SK.SHARMA@IN.ABB.COM
17 | M9497506003 | NO | DATA CONVERTER FOR CCTV (CHP) | 2 | 219318 | 1007390 THYSSENKRUPP INDUSTRIES INDIA | 27.12.2008 | DATA CONVERTER | CCTV Spares | contactus.tkii@thyssenkrupp.com
18 | M9497506009 | NO | SIGNAL DISTRIBUTION UNIT FOR CCTV | 2 | 144297.99 | 1030403 ABB LTD | 28.08.2008 | CONTROL & INSTRUMENTS CCTV ITEM TYPE : MULTIPLEXER MULTIPLEXER ALLEGIANT SIGNAL DIST UNIT,64 OUTPUTS Part No : LTC 8768/00 Drg No : NA | CCTV Spares | SK.SHARMA@IN.ABB.COM
2158958.34