## Sheet1
Material Number | Material Description | Unrestricted | Base Unit of Measure | Storage Location | Plant | Material Type | Material Group | In Quality Insp. | In transfer (plant) | Name 1 | Blocked | Remarks
M1883080007 | VALVE,NEEDLE,FLGXTHD,SS316,3000PSI | 29 | NO | 9999 | 1054 | ZSPR | 1883 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406052 | RECTIFIER CARD,SP0501,TECHNO,BR-RF | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406055 | GRND FLR PUSH BUTTON,RM03522,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406056 | PUSH BUTTON-1ST FLR,RM03523,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406057 | PUSH BUTTON-2ND FLR,RM03524,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406058 | PUSH BUTTON-3RD FLR,RM03525,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406059 | PUSH BUTTON-4TH FLR,RM03526,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406060 | PUSH BUTTON-5TH FLR,RM03527,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406061 | PUSH BUTTON,RM03536,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406062 | PUSH BUTTON,RM03537,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406063 | PUSH BUTTON,RM04132,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406064 | FAN PUSH BUTTON,RM04133,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406065 | PUSH BUTTON,RM04051,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406066 | STOP PUSH BUTTON,RM0405,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406067 | PHONE PUSH BUTTON,RM03538,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406069 | PUSH BUTTON,RM03540,TECHNO | 7 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406070 | FRICTION BLOCK,SF9FTYDOG,TECHNO,ELEVATOR | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406072 | GUIDE ROLLER,SFG400224,TECHNO | 4 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406073 | MAGNETIC COIL,SFG500085,TECHNO,ELEVATOR | 4 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406074 | TRANSMITTER,SP0519,TECHNO | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406077 | O-RING,SP0811,TECHNO,LIFT/ELEVATOR | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406078 | SEALING RING,SP0812,TECHNO,LIFT/ELEVATOR | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406079 | LOCK BUSHING,SP0876,TECHNO | 4 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406080 | SWITCH,SP1000,TECHNO,LIFT/ELEVATOR | 3 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406081 | DISC BRAKE,SP602,TECHNO,LIFT/ELEVATOR | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406083 | PUSH BUTTON,RM03528,TECHNO,LIFT/ELEVATOR | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406084 | PUSH BUTTON,RM03529,TECHNO,LIFT/ELEVATOR | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406085 | O-RING,SP0911,TECHNO,LIFT/ELEVATOR | 4 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406086 | SEALING RING,SP0912,TECHNO,LIFT/ELEVATOR | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406091 | LIMIT SWITCH,RMS181P10002,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406092 | LIMIT SWITCH,RMS181P10002,TECHNO | 4 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406093 | PUSH BUTTON,RM03530/8TH,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406094 | PUSH BUTTON,RM03531/9TH,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406095 | PUSH BUTTON-10TH FLR,RM03532,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406096 | PUSH BUTTON-11TH FLR,RM03533,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406097 | PUSH BUTTON-12TH FLR,RM03534,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406098 | PUSH BUTTON-13TH FLR,RM03535,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406099 | PUSH BUTTON-14TH FLR,RM03536,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406117 | CABIN FAN,RMS-141-P2-0009,TECHNO | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406122 | PINION,RMS-171-P3-0027,TECHNO | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406125 | BREAKING RESISTOR,RMS-161-PB2-008,TECHNO | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406126 | PUSH BUTTON,RMS-121-P1-0075,TECHNO | 2 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M6325406127 | CONTACTOR,RMS-161-P2-0128,TECHNO,415VAC | 1 | NO | 9999 | 1054 | ZSPR | 6325 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8519309051 | CONTACTOR: AUXILIARY,110VAC,SIEMENS | 1 | NO | 9999 | 1054 | ZSPR | 8519 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8519409051 | CONTACTOR,AUXILIARY,220-250VAC,2NO+2NC | 1 | NO | 9999 | 1054 | ZSPR | 8519 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8520409215 | CONTACTOR,AUXILIARY,110VAC,2NO+2NC,L&T | 1 | NO | 9999 | 1054 | ZSPR | 8520 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8520418017 | CONTACTOR,AUXILIARY,110VAC,3NO+1NC,C&S | 1 | NO | 9999 | 1054 | ZSPR | 8520 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8521275215 | CONTACTOR,AUXILIARY,24VDC,2NO,PANEL,L&T | 1 | NO | 9999 | 1054 | ZSPR | 8521 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8547204136 | FUSE CARRIER,1A,CONNECTWELL | 1 | NO | 9999 | 1054 | ZSPR | 8547 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8547306458 | FUSE BASE,415VAC,2A,BUSSMANN,W/CARRIER | 1 | NO | 9999 | 1054 | ZSPR | 8547 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8547311188 | FUSE BASE,6A,NS,W/CARRIER | 1 | NO | 9999 | 1054 | ZSPR | 8547 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8550905516 | SWITCH,AMMETER SELECTOR,4S39AP/GB,KAYCEE | 1 | NO | 9999 | 1054 | ZSPR | 8550 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8550990018 | SWITCH,SELECTOR,2WAY,3P,S.MS.EI.13.8 | 1 | NO | 9999 | 1054 | ZSPR | 8550 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8551212011 | SWITCH,LMT,2WAY,L-120-20(16C/4G) | 1 | NO | 9999 | 1054 | ZSPR | 8551 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8551212012 | SWITCH,LMT,2WAY,L-120-40(16C/5G) | 1 | NO | 9999 | 1054 | ZSPR | 8551 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8552205416 | SWITCH,LMT,2WAY,240V,10A,NLL2,BCH | 1 | NO | 9999 | 1054 | ZSPR | 8552 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8552208761 | SWITCH,LMT,2WAY,24V,JLSTPR,JAI BALAJI | 1 | NO | 9999 | 1054 | ZSPR | 8552 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8553385515 | SWITCH,RTRY,CAM,3WAY,240VDC,16A,C&S | 1 | NO | 9999 | 1054 | ZSPR | 8553 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561110251 | CB,MINIATURE,230/415VAC,3A,SP | 1 | NO | 9999 | 1054 | ZOTH | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561113232 | CIRCUIT BREAKER,MINIATURE,230VAC,4A,1P | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561119230 | CIRCUIT BREAKER,MINIATURE,230/240/440VAC | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561125237 | CIRCUIT BREAKER,MINIATURE,230-240/440VAC | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561128245 | CIRCUIT BREAKER,MINIATURE,240VAC,20A,1P | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561191414 | MCB,10A,1P,10KA,SIEMENS | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561410100 | CIRCUIT BREAKER,MINIATURE,24VDC,2A,2P | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561410623 | CIRCUIT BREAKER,MINIATURE,240VAC/DC,2A | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561610256 | CIRCUIT BREAKER,MINIATURE,415VAC | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561622002 | CIRCUIT BREAKER,MINIATURE,13A,3P | 1 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8561919263 | CIRCUIT BREAKER,MINIATURE,220VDC,10A,2P | 5 | NO | 9999 | 1054 | ZSPR | 8561 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8563063999 | CIRCUIT BREAKER,MOTOR PROTECTION,3P,50KA | 1 | NO | 9999 | 1054 | ZSPR | 8563 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8563082408 | CIRCUIT BREAKER,MOTOR PROTECTION,SIEMENS | 1 | NO | 9999 | 1054 | ZSPR | 8563 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8563105411 | CIRCUIT BREAKER,MOTOR PROTECTION,2.4-4A | 1 | NO | 9999 | 1054 | ZSPR | 8563 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8563118826 | CIRCUIT BREAKER,MOTOR PROTECTION,AC,16A | 1 | NO | 9999 | 1054 | ZSPR | 8563 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8563162504 | CIRCUIT BREAKER,MOTOR PROTECTION,415V | 1 | NO | 9999 | 1054 | ZSPR | 8563 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8567130248 | PUSH BUTTON ACTUATOR,GREEN,C&S | 3 | NO | 9999 | 1054 | ZOTH | 8567 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8567150431 | PUSH BUTTON ACTUATOR,SWITCH GEAR | 1 | NO | 9999 | 1054 | ZSPR | 8567 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8567725042 | PUSH BUTTON,3SB50 00-OAE01 | 1 | NO | 9999 | 1054 | ZSPR | 8567 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8571005833 | 2 STEP PUSH BUTTON,XACA9412+XEN1191 | 1 | NO | 9999 | 1054 | ZSPR | 8571 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M8571005842 | 2 STEP PUSH BUTTON,XAC9412+XXEN1191 | 1 | NO | 9999 | 1054 | ZSPR | 8571 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M9418406557 | LED ASSY,EIP,F/LEVEL CONTROLLER RF550 | 25 | NO | 9999 | 1054 | ZSPR | 9418 | 0 | 0 | KHARGONE STPP | 0 | Surplus
M9481018923 | TORQUE SWITCH,30,LIMITORQUE,ACTUATOR | 2 | NO | 9999 | 1054 | ZSPR | 9481 | 0 | 0 | KHARGONE STPP | 0 | Surplus